## ISO 13485 Risk Assessment Temp
Risk Category | Specific Risk | Potential Effect | Severity | Likelihood | Current Controls | Effectiveness of Controls | Recommended Actions | Responsible Department | Status
Design | Component Failure | Patient Injury | Catastrophic | Rare | Quality Control Checks | Adequate | Enhanced Component Testing | Design Engineering | Monitored
Production | Contamination | Device Malfunction | Major | Occasional | Cleanroom Procedures | Needs Improvement | Improve Sterilization Process | Manufacturing | Under Review
Post-Market | Battery Failure | Device Malfunction | Major | Rare | Post-Market Surveillance | Adequate | Battery Quality Checks | Quality Assurance | Actioned
Design | Software Error | Incorrect Readings | Major | Occasional | Software Validation | Adequate | Regular Software Updates | Software Engineering | Monitored
Production | Assembly Error | Device Failure | Catastrophic | Rare | Assembly Line Inspections | Needs Improvement | Worker Training Programs | Manufacturing | Under Review
Post-Market | User Misuse | Patient Injury | Major | Frequent | User Manuals | Adequate | Enhanced User Training | Marketing | Actioned
Design | Electrical Short | Fire Hazard | Catastrophic | Rare | Electrical Safety Tests | Adequate | Review Electrical Design | Electrical Engineering | Monitored
Production | Material Defect | Device Malfunction | Major | Occasional | Material Quality Checks | Needs Improvement | Supplier Quality Assessment | Procurement | Under Review
Post-Market | Wear and Tear | Reduced Efficacy | Minor | Frequent | Customer Feedback | Adequate | Product Durability Studies | Quality Assurance | Actioned
Design | Inadequate Labeling | Misuse of Device | Major | Occasional | Label Review Process | Adequate | Update Labeling Guidelines | Regulatory Affairs | Monitored